SUBMITTAL INDEX

For Approval  ·  JANU-SUB-011  ·  Version V01

| Project: | Janu Resort - Turks & Caicos Islands | Spec Section: | GP1R-E4 & GP1R-E5 |
| --- | --- | --- | --- |
| Submittal No.: | JANU-SUB-011 · Rev V01 | Submitted To: | BCQS Ltd - Contract Administrator |
| Date: | 18 September 2026 | Type: | Product Data |
| Contractor: | Waratah Construction TCI Ltd | Re: | Electrical distribution equipment - Mockup Room 1 |

Contents of This Submittal

This submittal covers the electrical distribution equipment for GP1 Mockup Room 1: load centers, meter socket, surge protection device, and molded-case / plug-in circuit breakers, as detailed on the attached ABB manufacturer data. Source: Utopia Electrical Ltd, Submittal No. 011 Rev. B (9/15/2026). Items 1 to 3 are substitutions and item 4 is a deviation (NEMA 4 vs specified NEMA 3R); these require engineer confirmation before release for fabrication or installation. Manufacturer data follows on pages 2 to 11; each item's page location is given in the Pg. column and repeated as a comment on the page.

Item Index

| # | Item | Manufacturer / Model | Modifications | Pg. |
| --- | --- | --- | --- | --- |
| A - ELECTRICAL DISTRIBUTION EQUIPMENT · ABB (SOURCE: UTOPIA ELECTRICAL SUB-086) |  |  |  |  |
| 1 | Load Center, ReliaHome PCC4022R (Outdoor 3R, 225A, 40/80) | ABB PCC4022R | 175A main kit THQMV175F | 2 |
| 2 | Load Center, ReliaHome PCC1612 (NEMA 1, 125A Cu bus, 16/32) | ABB PCC1612 | 80A main THHQL2180 + base kit TQMH000F | 3 |
| 3 | Meter Socket, PAMS3022TRNUS (Outdoor 3R, 225A, 30/60) | ABB PAMS3022TRNUS | 32-hole ground bar TGK32 | 4 |
| 4 | Surge Protection Device, RG Series | ABB RGWMSP120S08T14 | NEMA 4 (spec NEMA 3R) | 5 |
| 5 | Circuit Breaker, Arc Fault Plug-In, 1P 20A (Qty 33) | ABB THQL1120PAF2 | - | 6 |
| 6 | MCCB, 2P 80A | ABB THQL2180 | - | 7 |
| 7 | MCCB, 2P 40A (Qty 2) | ABB THQL2140 | - | 8 |
| 9 | Circuit Breaker, Ground Fault Plug-In, 2P 60A | ABB THQL2160GFT2 | - | 9 |
| 10 | MCCB, 2P 20A | ABB THQL2120 | - | 10 |
| 11 | MCCB, 2P 30A (Qty 2) | ABB THQL2130 | - | 11 |

FOR: ☐ Approved ☐ Approved as Noted ☐ Revise and Resubmit ☐ Rejected Reviewed By: __________________________ Date: __________________